## Slide 1
From turbine to plant
Andrew rapin

## Slide 2: what we’re talking about
Flow of electricity from our turbines to our customer’s facilities
How to read a one-line drawing What it means when you hear [Project] tripped
OE responsibility vs GW responsibility
Reference Presentation: Electricity 101

## Slide 3: one-Line drawing

## Slide 4: In operation
From Here
To Here

## Slide 5: Starting with the turbine
Starting Here

## Slide 6: gw generator
Permanent Magnet Direct Drive (PMDD) Synchronous Generator
16.8 RPM Optimum
Generates wild three phase AC power
Full AC  DC  AC conversion
Clean grid synchronized power
Notes: Permanent Magnet: Why we get from China.
Direct Drive: Driven by rotor
Synchronous: Waveform of the output voltage is a function of the generator
Draw diagram of wild AC, DC, AC

## Slide 7: Gw generator

## Slide 8: Tower base

## Slide 9: Once we’re out of the turbine
Underground conduit
To pad mount transformer
Used to match grid voltage
  Common voltages are 34.5kV, 12,470V, and 4,160V

## Slide 10: On the one line

## Slide 11: transformer

## Slide 12: Transformer

## Slide 13: Grounding transformer

## Slide 14: switchgear
Protects us from the grid and the grid from us
When you hear that a project has tripped, this is what tripped
Once tripped we are isolated from the grid and customer
Typically do switching remotely

## Slide 15: switchgear

## Slide 16: Switchgear

## Slide 17: Switchgear

## Slide 18: Run to plant
Entire run is referred to as “Collection Line”
Could be underground or overhead (like Marion)
Boring under rail lines

## Slide 19: At the substation
Grid
OE
Whirlpool
Transformer

## Slide 20: OE’s side
200A fuse on each phase
GOAB – Gang-Operated Air-Break
GPCC: Generator Point of Common Coupling
PCC: Point of Common Coupling

## Slide 21: Pole

## Slide 22: Responsibility
One Energy
Anything between the turbine and the plant connection
Transformer, Grounding Transformer, Switchgear, Riser Pole Fuses
Most switching can be done remotely
Goldwind
Semi-annual and annual maintenance
Any turbine issues
Remote Operations Center (ROC) and local team
Some automated turbine functions cause downtime

## Slide 23: Thank you | questions?