## Slide 1
easypower
Andrew rapin

## Slide 2: outline
Overview and background information
How to build an EasyPower one line demo
TCC (Time Current Curve) generation
Fault review and modeling

## Slide 3: Easypower
Software built to design, analyze, and model electrical power systems
Can be used to perform device coordination
Can be used for arc flash analysis
https://www.easypower.com/resources/videos

## Slide 4: How does it work
Can use ANSI or IEC-60909 standard for short circuit analysis
Using these methods we can perform short circuit and coordination studies
Power Flow studies are performed using the Current Injection Method
Notes: ANSI accepted in the US, IEC international and democratic

## Slide 5: Short Circuit analysis
A short circuit or fault analysis tells us how much fault current an electrical power system is capable of producing
This governs our protection device scheme for a project

## Slide 6: Why do we care?
Interconnection applications require coordination at the application stage
Modeling of faults we observe in the field
Managed HV

## Slide 7: one-Line drawing

## Slide 8: Easypower one-line

## Slide 9: Easypower - Ui

## Slide 10: Easypower – database edit

## Slide 11: Easypower – short circuit
Photo Credit: Easypower User Manual
Notes: Sequence components show unbalanced parts of fault

## Slide 12: Easypower - coordination

## Slide 13: Easypower - coordination

## Slide 14: Easypower - coordination

## Slide 15: Thank you | questions?