## Slide 1
Production Reports
Erica Johnson
10/29/2018

## Slide 2: Agenda
Pulling SCADA Data
Running Report
Meter Data
Downtime/Availability
Fleet Summary
Sending Reports

## Slide 3: Pulling SCADA DATA
Daily Data Query
10 Minute Data Query
Stop Mode Query
Comm Stat

## Slide 4: Pulling SCADA DATA – Daily & 10 Minute
Select dates of last month
  Cooper/Haviland 1st - 1st
  All others 1st – Last
Wind Speed, Active Power, Reactive Power, Total Active power

## Slide 5: Pulling Scada Data – Daily & 10 Minute

## Slide 6: Pulling SCADA Data – Comm Stat & Stop Mode

## Slide 7: Building the Report

## Slide 8: Building The Report

## Slide 9: Running the Report
Report Macro pulls in Daily Data

## Slide 10: Meter Data
Jordan & Ben read meters for PPA projects

## Slide 11: Downtime/Availability
Format Downlogs Excel Tool
Old Formula: Cooper, Haviland
New Formula: Harpster, WP – Findlay, Zephyr
2018 Formula: WP – Marion, WP – Ottawa

## Slide 12: Downtime/Availability
Logging Downtime
  Yaw lubrication, yaw detwisting, Turbine limit power run, low wind speed, etc. not logged

## Slide 13: Downtime/Availability
Ohio Daily Availability Tracker

## Slide 14: Downtime/Availability
Comparing OE & Goldwind Downtime Logs
  Is downtime being logged appropriately?

## Slide 15: Downtime/Availability
Adding downtime to report

## Slide 16: Downtime/Availability
Adding availability to report

## Slide 17: Downtime/Availability
Adding availability to report
  Does one turbine have more downtime than the others?
  Is Goldwind meeting contractual availability?

## Slide 18: Fleet Summary

## Slide 19: Fleet summary - Production

## Slide 20: Fleet summary – Production

## Slide 21: Fleet summary – Month characterization
NFWC MERRA2 node data

## Slide 22: Fleet Summary – downtime/Availability

## Slide 23: Fleet Summary – downtime/Availability

## Slide 24: Fleet summary – Downtime/Availability

## Slide 25: Fleet summary – Power curve
Raw Data

## Slide 26: Fleet Summary – Power curve
Power Curve Validation
  Nacelle wind speed to LiDAR equivalent

## Slide 27: Fleet Summary – Power curve
Power Curve Review

## Slide 28: Fleet Summary – Power Curve
Report plot

## Slide 29: Sending Reports
Check of numbers
  Is one turbine of a project significantly better/worse than others?
Report Formatting
  Notes updated/accurate, planned downtime current, all charts/tables legible
Send to Mij to be sent out to customers
Send to intranet@ to be posted