## Slide 1
Basics of Solar Resource Modeling how the algorithms work and limitations
Zhuoran Zhang
08/29/2023

## Slide 2: OUtline
Solar panel working mechanism
Parameters for Solar Resource simulation
PVWatts
PVsyst
Limitations
OE Application

## Slide 3: Solar to electricity
Absorption of photons
Generation of electron-Hole Pairs
Flow of electrons
Electric field and current
Metal contacts
Direct current output (DC)
Powering electrical devices (AC)

## Slide 4: Important parameters
Location and Geographic
Solar Irradiance
Obstacles (Shading)
Panel Orientation
Panel Efficiency
Technology Type
Inverter Efficiency
Losses and Degradation
Size (Area/Power need)
Energy Storage
Financial and Economic

## Slide 5: Inputs (Pvwatts)
Size
Technology Type and Panel Efficiency
Orientation
Orientation
Shading, Losses and Degradation
Shading
Solar Irradiance
Technology Type
Inverter Efficiency
Size
Inputs:

## Slide 6: Inputs (PVSyst)

## Slide 7: Inputs (PVSyst)

## Slide 8: Algorithms
Effective Energy Input
Meteo Data Input
Data analyze and modeling
Performance
Shading
Detailed Loss
PV Array and Inverter Behavior
Array MPP energy after all array losses
DC to AC

## Slide 9: Main Output
Algorithm not publicly disclosed
Effective Energy Input
PV Array and Inverter Behavior
Performance

## Slide 10: Main Output
Performance Factor:
system quality between installations in different locations and orientations
Capacity Factor:
Tell us how often the system is running
Give net electricity generation over a particular period of time
Notes: (𝑔𝑙𝑜𝑏𝑎𝑙 𝑖𝑛𝑐𝑖𝑑𝑒𝑛𝑡 𝑠𝑜𝑙𝑎𝑟 𝑖𝑟𝑟𝑎𝑑𝑖𝑎𝑛𝑐𝑒∗𝑆𝑇𝐶 𝑖𝑛𝑠𝑡𝑎𝑙𝑙𝑒𝑑 𝑝𝑜𝑤𝑒𝑟) = expected output stc installed power is the power need to be generated according to the nameplate
This allows the comparison of the system quality between installations in different locations and orientations.
Namely, the PR is not dependent on the PV module efficiency.

## Slide 11: Limitations
Relies on historical or synthetic weather data
Simulation accuracy heavily depends on input data
Moving shadows cannot be accounted
Long learning curve

## Slide 12: OE APPLICATION
Simulate monthly and yearly consumption for IE
Help design and sizing the project
Help financial analysis
Performance monitoring

## Slide 13: Thank you!
Questions?